## Slide 1
Practice
Case 05
Single Sinus Lift (#3)
DIO DIGITAL ACADEMY

## Slide 2
Case 5
• Fixture Ø5.0 x 10mm
• Healing abutment Ø5.5 x 4mm
#16
Sinus single case

## Slide 3
Hands-on Materials

## Slide 4
Anatomical Design
#16

## Slide 5
Implant planning

## Slide 6
B
L
Understanding of
Planning Figures
#16

## Slide 7
Guide + Bone height
13.93
Ø3.2 x 18
B
L
Offset
① Approaching Sinus Wall
② Sinus Opening
Understanding of
Planning Figures
#16

## Slide 8
Augmentation height
Mucosa + Residual bone height
Guide + Bone height
13.93
7.70
7.32
Ø3.2 x 18
B
L
Offset
③ Required to set
Stopper for GBR
④ Height of elevation
① Approach Sinus Wall
②Sinus Opening
#16
Notes: 1. 접근
2. 오픈
3. 본 인젝션위해 스타퍼 길이 결정
4. 엘리베이션 높이

## Slide 9
1~2mm
Round Drill(Sinus Drill)
Ø2.0 Initial Drill
Ø2.0mm Stopper
Ø3.2 x 18
Ø3.2 x 19
Ø3.2 x 17
Ø3.2 × 21
* Option: 21mm
Ø3.2 x 17
DIOnavi. Crestal Sinus KIT
#16
Notes: 이니셜드릴로 사이너스까지 접근 (관통 금지)
라운드드릴 + 스타퍼를 이용하여 바텀라인을 관통한다.
4종류 라운드드릴이 있다. (21 옵션)

## Slide 10
1
Ø2.6
Ø2.6
4
2
6
8
10
12
19
9
Depth Gauge & Bone Condenser
#16

## Slide 11
Depth Gauge
Bone Condenser
H (7.7mm)
Bone + Gum = H(mm) | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
Bone Condenser Stopper | 16 | 15 | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4
Depth gauge Stopper | 15 | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3
#16
Depth Gauge & Bone Condenser
Selection guidelines of stopper

## Slide 12
Drilling Protocol

## Slide 13
9 mm
8
5
2
3
4
6
7
16
15
14
13
12
11
17
Ø3.2 x 17
Ø3.2 x 17
Ø3.2 x 17
Ø3.2 x 17
Ø3.2 x 18
Ø3.2 x 19
Ø3.2 x 17
Residual bone height
15mm
(14.5mm~15.4mm)
H(mm)
Offset + Residual bone height
The anatomical depth measured by CT scan is 14mm but it has been adjusted to 15mm considering manufacturing tolerance of the hands-on model

## Slide 14
#16

## Slide 15
Please enjoy
your practice time!